# Analyse de certains problèmes des réseaux alternatif continu interconnectes .

| Type Document | Thèses / mémoires |
| --- | --- |
| Langue | Français |
| Auteur(s) | Boutebel; Mohamed/ Université de Montréal/ |
| Nombre de Pages | 286 f. |
| Illustration | Tab.tab. |
| Format | 30 cm . |
| Notes Générales | Bibliogr.- Résumé en anglais |
| Diplôme | Maitrise |
| Etablissement | Montréal |
| Année de Soutenance | 1987 |
| Sujet(s) | simulation/ circuit/ Dynamic/ alternative/ system/ analys/ convertiseur/ equation ./ |

### Résumé :

The purpose of this thesis is to analyse two import-nt performances of AC/DC systems: the load flow and the transient  t-bility. The seqLlentiel approach is ret-ined for the analysis of the static interactions between AC and DC systems. The

method for representing a parallel mLil t i termi nal	HVDC system i n a transi ent stability program is described in detail. Converters, transmission lines and the control system are modeled for system planning StLldi es. In addition, a mathematical

representation of generators with their control system is described for dynamic stLldi es.The capability of the digital program is verified on an interconnected AC/DC system composed of three DC terminals The capability of the digital program is verified on an interconnected AC/DC system composed of three DC terminals and the WSCC9 alternative system. The resLIl ts are compared wi th some reported.